# Open National Bidding

# for Works

Refurbishment of ARFFS Station & Associated Works, at SSR International Airport

Procurement Ref:

ONB/WK/TSD/SK/CL/25/013 RL1 (07 OCT 26) TC

AIRPORTS OF MAURITIUS CO LTD

AML CORPORATE OFFICE

SSR INTERNATIONAL AIRPORT

PLAINE MAGNIEN

TEL 603 6000

E-MAIL: tendercommittee@aml.aero

VAT 20175768

BRN C07019799

…. August 2026

Dear Sir/Madam

Airports of Mauritius Co Ltd (AML) is inviting you to submit your bid for Refurbishment of ARFFS Station & Associated Works, at SSR International Airport as described in this bidding document.

We commit ourselves to maintain the highest standard of integrity and ethical principles during all stages of the procurement cycle.

We thank you for your kind consideration.

Yours faithfully

Chairperson Tender Committee

## Section I: Instruction to Bidders

### Introduction

Airports of Mauritius Co Ltd (AML) also referred as the Employer, invites eligible local Contractors to submit their bid for the works detailed in this bidding document. Any resulting Contract shall be subject to the Terms and Conditions stipulated in this document.

The project consists of: Refurbishment of ARFFS Station & Associated Works, at SSR International Airport.

  - Clarifications, if any, should be addressed to the Chairperson Tender Committee, AML Corporate Office, SSR International Airport, Plaine Magnien, and sent through email at: tendercommittee@aml.aero

AML will respond in writing to any request for clarification, provided that such request is received 14 days prior to the deadline for submission of bids.

Bidders are requested to regularly visit AML Website to take cognizance of any Addendum/Clarifications issued.

AML shall respond to such request at latest 7 days prior to the deadline set for submission of bids.

Late bids shall not be accepted and bids submitted by any electronic mode shall not be considered.

  - Bidders are advised to carefully read the complete bidding document, including the Particular Conditions of Contract in Section IV, before preparing their bids. The standard forms in this document may be retyped for completion but the bidder shall be solely responsible for their accurate reproduction.

### Validity of Bids

The bid validity period shall be 90 days from the date of bid submission deadline.

### Works Completion Period

The Intended Completion Date for the whole of the Works shall be 240 days from the Start Date, to be specified in the Notice to Commence.

### Site Visit

Bidders or their designated representatives are invited to attend a site visit on Friday 04 September 2026 at 10h00.

AML Corporate Office, SSR International Airport, Plaine Magnien.

Bidders should confirm their participation for this meeting to the Secretary Tender Committee through email at tendercommittee@aml.aero at least 24 hours prior to the site visit for access permit purposes.

### Sealing and Marking of Bids

Bids should be sealed in a single envelope, clearly marked with the Procurement Reference, addressed to the Chairperson Tender Committee with the Bidder’s name at the back of the envelope.

### Submission of Bids

Bids should be deposited in the Tender box located at the Ground Floor, AML Corporate Office, SSR International Airport, Plaine Magnien on or before Wednesday 07 October 2026 at latest by 13h00. Bids sent by registered post or hand delivered should reach the above-mentioned address by the same date and time at latest. Late bids shall not be accepted and bids submitted by any electronic mode shall not be considered.

### Bid Opening

Bids will be opened by AML Tender Committee in the Meeting Room, Ground Floor, AML Corporate Office, SSR International Airport, Plaine Magnien on Wednesday 07 October 2026 at 13h30. Bidders or their representatives may attend the Bid Opening if they choose to do so. One representative per bidder shall be allowed for the bid opening exercise.

Bidders should confirm their participation to the Secretary Tender Committee on 603- 6000 or through email at tendercommittee@aml.aero

### Evaluation of Bids

AML shall have the right to request for clarification during evaluation. Bids that are substantially responsive to requirements, shall be compared on the basis of evaluated cost to determine the lowest evaluated bid.

### Eligibility Criteria

To be eligible to participate in this bidding exercise, Bidders should:

(a)	have the legal capacity to enter into a contract to execute the works;

(b)	be duly registered with the Construction Industry Authority (CIA) under the grade that would allow the Contractor to perform the value of works for which he is submitting his bid.

- Note: Sub-contractors undertaking works are also subject to registration with CIA as     applicable to Contractors.

(c)	not be insolvent, in receivership, bankrupt, subject to legal proceedings for any of    these circumstances or in the process of being wound up;

(d)	not have had your business activities suspended;

(e)	not be under a declaration of ineligibility by the Government of Mauritius in accordance with applicable laws at the date of the deadline for bid submission or appearing on the ineligibility lists of African Development Bank, Asian Development Bank, European Bank for Reconstruction and Development, Inter-American Development Bank Group and World Bank Group;

(f)	not have a conflict of interest in relation to this procurement requirement; and

(g)	have a Business Registration Card.

(h)	For contract above Rs 1 Million, the enterprise should have an annual turnover not less than 75% of the bid price in any one year of the last 3 years.

### Qualification and Experience Criteria

Bidders should have the following minimum qualifications and experience:

- Valid Registration certificate with the CIA for Building Construction Works, as per CIA Act.

- Successfully completed as prime Contractor in the construction of at least 2 projects of a similar nature and complexity over the last 5 years.

- Experience in Working at height:

Upon award and prior to commencement of the works, the successful Bidder will be required to submit valid MQA approved certificates in relation to working at height for each personnel who will be involved in such works.

- Site Agent with minimum qualification of diploma in building/civil engineering and at least 5 years’ in similar nature and complexity.

Note: At time of bidding, bidders are requested to submit the following documentary evidence as requested for this project, for evaluation purposes:

- List of similar projects completed as prime contractor

- Qualifications and experience of above key personnel

- Minimum amount of liquid assets and/or credit facilities net of other contractual commitments of the Bidder of MUR 1 million.

### Contents of Bid

The Bid shall comprise the following:

- duly filled Bid Submission Form

- duly filled Priced Bill of Quantities/Detailed Activity Schedule

- duly filled Qualification Information Form and attachments required

- duly filled Key Financial Information Form along with certified copies of Financial Statements or Audited Accounts for the last three years, as filed at the Registrar of Companies before the deadline set for submission of bids

- Valid Registration Certificate with the CIA, as applicable

- Signed C.V of Site Agent

- Documentary evidence of liquid assets and/or credit facilities (Note 1);

- Any other documents deemed necessary as per the requirements of this bidding document

### Note 1

Bidders to demonstrate access to, or availability of, financial resources such as liquid assets, lines of credit, and other financial means, other than any contractual advance payments to meet the overall cash flow requirements for the Contract and its current commitments.

Documentary evidence may comprise but not limited to Bank certificate, Certificate from Auditors, Certificate from a Professional Accountant registered with MIPA, Certificate from Insurance companies.

### Joint Venture

Bids submitted by a joint venture of two or more firms as partners shall comply with the following requirements:

- the Bid shall include all the information required as per the Qualification Information form for each joint venture partner;

- the Bid shall be signed so as to be legally binding on all partners;

- the Bid shall include a copy of the agreement entered into by the joint venture partners defining the division of assignments to each partner and establishing that all partners shall be jointly and severally liable for the execution of the Contract in accordance with the Contract terms; alternatively, a Letter of Intent to execute a joint venture agreement in the event of a successful bid shall be signed by all partners and submitted with the bid, together with a copy of the proposed agreement;

- one of the partners shall be nominated as being in charge, authorized to incur liabilities, and receive instructions for and on behalf of any and all partners of the joint venture; and

- the execution of the entire Contract, including payment, shall be done exclusively with the partner in charge.

### Prices and Currency of Payment

Bidders should quote for the whole works. Prices for the execution of works shall be quoted and fixed in Mauritian Rupees. Items for which no rate or price is entered by bidders, shall not be paid for by AML when executed and shall be deemed covered by the other rates and prices in the Bill of Quantities.

Bids shall cover all costs of labour, materials, equipment, overheads, profits and all associated costs for performing the works, and shall include all duties.

The whole cost of performing the works shall be included in the BOQs, and the cost of any incidental works shall be deemed to be included in the prices quoted. Bidders are required to submit their prices exclusive of VAT.

### Bid Securing Declaration

Bidders are required to subscribe to a Bid Securing Declaration in the Bid Submission Form.

### Evaluation of Bids

If the lowest evaluated bid is seriously unbalanced or front loaded or if any item in the Bill of Quantities or Price Activity Schedule is front loaded or contains an erroneous amount in the opinion of AML, AML may require the Bidder to produce detailed price analysis for any or all items of the bid to demonstrate the internal consistency of those prices with the construction methods and schedule proposed. After analysis of the prices, AML may reject the bid or require that the amount of the performance security be increased at the expense of the Bidder to a level sufficient to protect AML against financial loss in the event of default of the successful Bidder under the Contract.

### Award of Contract

The Employer shall award the Contract to the lowest evaluated substantially responsive bidder.

The contract may be awarded at a negotiated price following negotiation in the following circumstances:

(i) there is a tie in the lowest evaluated price by 2 or more bidders;

(ii) the lowest evaluated price substantially exceeds the estimated cost.

Invitation for negotiation, where the lowest evaluated price substantially exceeds of the estimated cost, shall be limited to bidders whose evaluated prices are not more that 25% above the estimated cost.

Where there is a tie in the lowest evaluated price by 2 or more bidders, on completion of negotiations, the bidders shall be invited to submit their best and final offer.

Award of contract shall be by issue of a Letter of Acceptance in accordance with terms and conditions contained in Section IV: General Conditions of Contract and Particular Conditions of Contract.

### Performance Security and Signing of Contract

Within twenty-eight (28) days of the receipt of the Letter of Acceptance from AML, the successful Bidder shall furnish a Performance Security in the form of a Bank Guarantee. The Bank Guarantee shall be 10% of the Contract price (exclusive of VAT), in accordance with the conditions of Contract, using for that purpose the Performance Security Form included in Section V Contract Forms. AML reserves the right to check the authenticity of the Bank Guarantee.

The Contract agreement shall be signed within 28 days after the successful bidder receives the Letter of Acceptance unless the parties agree otherwise.

Failure of the successful bidder to submit the above-mentioned Performance Security within the required time may constitute sufficient grounds for the annulment of the award.

### Notification of Award and Debriefing

Prior to the expiration of the period of bid validity, AML shall, for contract amount above Rs 15 million, notify the selected bidder of the proposed award and accordingly notify unsuccessful bidders.

Subject to Challenge and Appeal, AML shall award the Contract to the selected bidder, by the way of a Letter of Acceptance. Until a formal Contract is prepared and executed, the Letter of Acceptance shall constitute a binding Contract.

AML shall after award of Contract, exceeding Rs 1 million and up to Rs 15 million, promptly inform all unsuccessful bidders in writing of the name and address of the successful bidder and the Contract amount.

Furthermore, AML shall attend to any requests for debriefing for Contract exceeding Rs 1 million, made in writing within 30 days the unsuccessful bidders are informed of the award.

### Advance Payment

AML shall provide an Advance Payment on the Contract Price as stipulated in the General Conditions of Contract. The Advance Payment shall be guaranteed by an Advance Payment Security as per the format contained in Section V.

The Advance Payment shall be limited to 10% percent of the Contract Price, less any provisional and contingencies sums.

### Integrity Clause

AML commits itself to take all measures necessary to prevent corruption and ensures that none of its staff, personally or through his/her close relatives or through a third party, will in connection with the bid for, or the execution of a Contract, demand, take a promise for or accept, for him/herself or third person, any material or immaterial benefit which he/she is not legally entitled to.

### Rights of AML

AML reserves the right:

- to accept or reject any bid or to cancel the whole bidding exercise and reject all bids at any time prior to contract award without incurring any liability to AML;

- to negotiate with the preferred bidder.

- to reduce/omit items within the scope of works.

### Challenge

The address to file Challenges in respect of this procurement is:

The Chief Executive Officer

Airports of Mauritius Co. Ltd

AML Corporate Office

Sir Seewoosagur Ramgoolam International Airport

Plaine Magnien 51520

Mauritius

Tel: +230 603 6000

Fax: +230 637 5306

## Section II: Bidding Forms

Note: [Bidders are required to fill all the forms in this section and submit as part of their bid.

Non- submission of any form may lead to rejection of the bid.]

# Bid Submission Form

Date: 		 Bid’s Reference No.: 	 Procurement Reference No.:

To:

We, the undersigned, declare that:

- We have examined and have no reservations to the Bidding Documents, including Addenda issued;

- We offer to execute in conformity with the Bidding Documents the following Works:

;

- The total price of our Bid excluding VAT is: 	(MUR):

- Our bid shall be valid for a period of 	  90	 days from the date fixed for the bid

submission deadline in accordance with the Bidding Documents or up to	,

whichever is later, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

- We hereby confirm that we have read and understood the content of the Bid Securing Declaration attached hereto and subscribe fully to the terms and conditions contained therein, if required. We understand that non-compliance to the conditions mentioned may lead to disqualification.

- If our bid is accepted, we commit to obtain a Performance Security in accordance with the Bidding Document;

- We, including any Sub-Contractors or suppliers for any part of the Contract, do not have any conflict of interest in accordance with ITB 9;

- We are not participating, as a bidder in more than one bid in this bidding process;

- Our firm, its affiliates or subsidiaries, including any Sub-Contractors or Suppliers for any part of the Contract, has not been declared ineligible under the laws of Mauritius;

- We have taken steps to ensure that no person acting for us or on our behalf will engage in any type of fraud and corruption as per the principles described hereunder, during the bidding process and Contract execution:

  - We shall not, directly or through any other person or firm, offer, promise or give to any of the AML’s employees involved in the bidding process or the execution of the Contract or to any third person any material or immaterial benefit which he/she is not legally

entitled to, in order to obtain in exchange any advantage of any kind whatsoever during the tender process or during the execution of the Contract.

  - We shall not enter with other bidders into any undisclosed agreement or understanding, whether formal or informal. This applies in particular to prices, specifications, certifications, subsidiary Contracts, submission or non-submission of bids or any other actions to restrict competitiveness or to introduce cartelisation in the bidding process.

  - We shall not use falsified documents, erroneous data or deliberately not disclose requested facts to obtain a benefit in a procurement proceeding.

We understand that transgression of the above is a serious offence and appropriate actions will be taken against such bidders.

- We understand that this bid, together with your written acceptance, shall constitute a binding Contract between us, until a formal Contract is prepared and executed;

- We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive; and

- If awarded the Contract, the person named below shall act as Contractor’s Representative:

Name:

In the capacity of:

Signed:

Duly authorized to sign the Bid for and on behalf of:

Date:

Seal of Company

Appendix to Bid Submission Form

Bid Securing Declaration

By subscribing to the undertaking in the Bid Submission Form:

I/We accept that I/we may be disqualified from bidding for any Contract with Airports of Mauritius Ltd for the period of time that may be determined by the Employer, if I am/we are in breach of any obligation under the Bid conditions, because I/we:

- have modified or withdrawn my/our bid after the deadline for submission of bids during the period of bid validity specified by the bidder in the Bid Submission Form; or

- have refused to accept a correction of an error appearing on the face of the bid; or

- having been notified of the acceptance of our bid during the period of bid validity, (i) have failed or refused to execute the Contract, if required, or (ii) have failed or refused to furnish the Performance Security, in accordance with the Instructions to Quote.

I/We understand this Bid Securing Declaration shall cease to be valid (a) in case I/we am/are the successful bidder, upon our receipt of copies of the Contract signed by you and the Performance Security issued to you by me/us; or (b) if I am/we are not the successful bidder, upon the earlier of (i) the receipt of your notification of the name of the successful bidder; or

(ii) thirty days after the expiration of the validity of my/our bid.

In case of a Joint Venture, all the partners of the Joint Venture shall be jointly and severally liable.

# Qualification Information

[The information to be filled in by bidders in the following pages shall be used for purposes of post-qualification as provided for in ITB Clause 10.  Attach additional pages as necessary.  Pertinent sections of attached documents should be translated into English.]

| 1. Individual Bidders or Individual Members of Joint Ventures | 1.1 Constitution or legal status of Bidder: [attach copy] Place of registration: [insert] Principal place of business: [insert] |
| --- | --- |

  - Bidder shall provide least 2 projects of a nature and amount similar to the Works performed as Contractor over the last 5 years.

| Project/Contract name and country | Name of client and contact person | Type of work performed and year of completion | Value of Contract (national currency ) |
| --- | --- | --- | --- |
| (a) (b) |  |  |  |

  - Proposed subContracts and firms involved. Refer to General Conditions of Contract Clause 7.

| Sections of the Works | Value of subContract | SubContractor (name and address) | Experience in similar work |
| --- | --- | --- | --- |
| (a) (b) |  |  |  |

[Bidders have to ascertain that sub-Contractors executing works are duly registered with the CIA].

  - Name, address, and telephone, telex, and facsimile numbers of banks that may provide references if contacted by AML.

### Additional

  - Bidders should provide any additional information Requirements requested in the bidding document.

# Bill of Quantities

# (Refer to Annex 1)

# Key Financial Information Form

[Key Financial Information extracted from Audited Accounts/Financial Statements.]

| Financial data in the currency reported in the Audited Accounts / Financial Statements |  | Historical Information |  |  | Remarks by BEC |
| --- | --- | --- | --- | --- | --- |
|  |  | Previous years | Last year | Current year |  |
| Statement of Financial Position (Information from Balance Sheet) |  |  |  |  |  |
| A. Current Assets |  |  |  |  |  |
| B. Current Liabilities |  |  |  |  |  |
| Working capital ratio or current ratio ( A / B) |  |  |  |  |  |
| Quick ratio or Acid Test ratio (Current Asset net of stock / B) (A – Closing Stock) B |  |  |  |  |  |
| C. Total Assets |  |  |  |  |  |
| D. Total Liabilities |  |  |  |  |  |
| Net Asset ( C-D) |  |  |  |  |  |
| Cash in hand and at Bank |  |  |  |  |  |
| Bank Overdrafts |  |  |  |  |  |
| Other Liquid Assets |  |  |  |  |  |
| Debt to Equity Ratio (Gearing / Solvency ratio) Long Term Debt X100 Equity |  |  |  |  |  |
| Information from Income statement |  |  |  |  |  |
| Key Profitability Indicators in the currency reported in the Audited Accounts/Financial Statements |  | Previous years | Last year | Current year |  |
| Turnover |  |  |  |  |  |
| Profit /(Loss )Before Tax |  |  |  |  |  |
| Taxation |  |  |  |  |  |
| Net Profit /(Loss) After Tax |  |  |  |  |  |
| (Net profit After tax) x 100 (Turnover) |  |  |  |  |  |
|  | Certified by Bidder that information is true extract from Audited Accounts/ Financial Statements Name of Bidder: Signature: Capacity: Date: |  |  |  |  |

# Financial Resources

Specify proposed sources of financing, such as liquid assets, unencumbered real assets, lines of credit, and other financial means, net of current commitments, available to meet the total construction cash flow demands of the subject contract or contracts.

| Source of financing | Amount (MUR equivalent) |
| --- | --- |
| 1. |  |
| 2. |  |
| 3. |  |
| 4. |  |

Section III: Statement of Requirements

SCOPE OF WORKS, SPECIFICATIONS AND PERFORMANCE REQUIREMENTS

Scope of Works

The scope of works comprises the renovation, repair, and upgrade of various facilities within the ARFFS complex, including the Watch Tower, Kitchen, Dormitories, Toilet Block, Ground Floor Store Room, External Works, and Airfield Maintenance Buildings. The Contractor shall execute all works in accordance with the specifications, drawings, and Employer’s requirements, ensuring operational continuity of the Airport and compliance with AML’s Health & Safety standards.

Bill No 1. Preliminaries and General Obligations

- Provision of insurance coverage and compliance with contractual obligations.

- Facilitation of site access, including DCA permits, Certificates of Character, and work permits.

- Provision and erection of scaffoldings, as per the Occupational Safety and Health Act.

- Compliance with AML and local Health & Safety regulations.

- Provision of temporary utilities, hoardings, and protection of existing structures.

- Site cleaning, setting out, and submission of project documentation (methodology, work plans, as-built drawings, etc.).

- Installation of sign boards and traffic diversion measures.

Bill No 2. ARFFS Building

Watch Tower Renovation (Lot 1)

- Supply and erection of scaffoldings up to a height of approx. 20m above ground level.

- Removal and replacement of waterproofing membrane.

- Screeding works with approved concrete mix and slope formation.

- Application of bituminous waterproofing membrane with reinforced detailing.

- Crack repairs and liquid waterproofing to internal surfaces.

- Internal and external painting works to MS 3 standard.

- Replacement of rainwater downpipes.

- Supply and installation of aluminium openings with laminated glass and approved hardware.

Kitchen Renovation (Lot 2)

- Crack and spalled surface repairs.

- Removal and replacement of floor tiles with skirting.

- Internal painting works.

- Supply and installation of aluminium kitchen furniture and door.

Dormitory Renovation (Lot 3)

- Surface repairs and polishing of terrazzo flooring.

- Internal painting works.

- Supply and installation of single and double swing aluminium doors.

Toilet Block Renovation (Lot 4)

- Surface repairs and waterproofing.

- Removal and replacement of floor tiles.

- Internal painting works.

- Supply and installation of sanitary appliances, shower sets, and floor drains.

Ground Floor & Miscellaneous (Lot 5)

- Demolition of concrete shelves.

- Surface repairs and floor dressing application.

- Internal painting works.

- Supply and installation of aluminium slatted doors.

External Works (Lot 6)

- Roof waterproofing with double-layer bituminous membrane.

- External surface repairs and waterproofing.

- External painting works with access provisions.

Bill No 3. Airfield Maintenance Buildings

- Internal and external surface repairs and waterproofing.

- Removal and replacement of floor tiles.

- Internal and external painting works.

- Supply and installation of aluminium doors and windows.

General Procedures

- All Contractors’ personnel shall follow a security and safety briefing session prior to commencement of works on site. Contractor shall abide to all airport standing procedures.

- The execution of the works is expected to be carried out within normal working hours, unless otherwise directed by AML. For any work that needs to be conducted outside normal working hours or over the weekend, a special agreement must be established with AML. Please note that this is subject to change based on the project’s specific requirements and constraints.

- All materials to be used for completion of these works shall be provided by the Contractor.

- All debris and left overs shall be disposed daily or regularly according to Rules and Regulations pertaining to the prevailing Laws on Environment, and the contractor shall be held responsible in any circumstances in case the Contractor contravenes such Rules & Regulations.

- The Contractor will be required to submit a Programme of Works (POW) and Method of Work plan (MOWP) for approval by AML prior to start of works.

- All completed works will be checked and commissioned by the Employer’s representatives and any necessary corrective works to meet specified requirements, must be carried out by the Contractor without any additional cost.

Specifications & Samples for Materials

The successful bidder should submit specifications and sample of materials to be used for approval prior to start of works.

As Built Drawings

The Contractor shall submit As Built drawings within 28 days from the issue of taking over certificate.

Airport Constraints

As the works shall be carried out in a controlled zone, the successful bidder will be required to ensure the followings:

- The site shall remain accessible to any access and egress for airport vehicles at all times.

- All works to be carried out within approved time slot agreed by AML.

- All portion of works to be secured with appropriate hoardings, warning signs, barricades and the like.

- To adhere with reasonable temporary suspension of works as directed by relevant authorities.

### List of Annexes

      - Annex 1- Bill of Quantities

      - Annex 2- Drawings

      - Annex 3- Specifications

      - Annex 4- General Conditions of Contract

### List of Appendices

      - Health & Safety Requirements for Construction Contractors

      - Security Procedures for Works within the Security Restricted Area

      - Procedures for Application of Access Permit for the Security Restricted Area

      - Procedures for Airside Works

      - Cyclone Procedure

## Section IV: General Conditions of Contract and Particular Conditions of Contract

Any resulting Contract shall be placed by means of a Letter of Acceptance and shall be subject to the General Conditions of Contract (GCC), for the Procurement of Works (Refer to Annex 4) except where modified by the Particular Conditions of Contract below.

Procurement Reference Number: ONB/WK/TSD/SK/CL/25/013 RL1 (23 Sep) TC

The clause numbers given in the first column correspond to the relevant clause number of the General Conditions of Contract.

Particular Conditions of Contract

| A. General |  |
| --- | --- |
| GCC 1.1 (r) | The Employer is Airports of Mauritius Co Ltd (AML). |
| GCC 1.1 (v) | The Intended Completion Date for the whole of the works shall be 240 days as from the start date. |
| GCC 1.1 (y) | The Project Manager contact details shall be communicated after award of the Contract. |
| GCC 1.1 (aa) | The site is located at SSR International Airport, Plaine Magnien. |
| GCC 1.1 (dd) | The Start Date shall be the date specified in the Notice to Commence. |
| GCC 1.1 (hh) | The work consists of the Refurbishment of ARFFS Station & Associated Works, at SSR International Airport |
| GCC 2.2 | Sectional Completion are: Not Applicable. |
| GCC 2.3(i) | The following documents also form part of the Contract: - Contract Agreement - Letter of Acceptance - Contractor’s Bid - Particular Conditions of Contract - General Conditions of Contract - Specifications - Drawings - Bill of Quantities All other correspondence related to this bidding exercise. |
| GCC 3.1 | The language of the Contract shall be in English The law that applies to this Contract is the law of Mauritius. |

| GCC 5.1 | The Project Manager may delegate any of his duties and responsibilities to Representative of AML. |
| --- | --- |
| GCC 8.1 | Schedule of other contractors: Not Applicable. |
| GCC 13.1 | Except for the cover mentioned in (d)(i) hereunder, the other insurance covers shall be in the joint names of the Contractor and the Employer and the minimum insurance amounts shall be as follows: - for the Works, Plant and Materials: MUR 5 million - for loss or damage to Equipment: MUR 1 million - for loss or damage to property (except the Works, Plant, Materials, and Equipment) in connection with Contract: MUR 5 million - for personal injury or death (per person and per occurrence): - of the Contractor’s employees: MUR 5 million - of other people: MUR 5 million The Contractor shall choose to take the insurance covers indicated above as separate covers or a combination of the Contractor’s All Risks coupled with AML’s liability and First Loss Burglary, after approval of AML. All insurance covers shall be of nil or the minimum possible deductibles at sole expense of the Contractor. |
| GCC 14.1 | Site Data: Please refer to drawings and appendices. |
| GCC 20.1 | The Site Possession Date(s) shall be communicated in the kick-off meeting. |
| GCC 23.1 & GCC 23.2 | Appointing Authority for the Adjudicator: No Adjudicator shall be appointed for this Contract. |
| GCC 24. | In case a dispute of any kind arises between the Employer and the Contractor in connection with, or arising out of, the contract or the execution of works or after completion of works and whether before or after repudiation or other termination of Contract, including any dispute as to any opinion, instruction, determination, certificate or valuation of the Employer’s Representative, the matter in dispute shall, in the first place, be referred in writing to the employer’s representative, with a copy to the other party. The Employer and the Contractor shall make every effort to resolve the dispute amicably by direct informal negotiation. If, after twenty-eight (28) days, the parties have failed to resolve their dispute or difference by such mutual consultation, then either the Airports of Mauritius Co Ltd or the Contractor may give notice to the other party of its intention to refer the matter to “the competent courts of Mauritius”. |
| B. Time Control |  |
| GCC 25.1 | The Contractor shall submit for approval a Program for the Works within 7 days from the date of issue of the Letter of Acceptance. |

| GCC 25.3 | The Contractor shall submit to the Project Manager for approval an updated Program within 14 days from the date of issue of the Letter of Acceptance. |
| --- | --- |
| C. Quality Control |  |
| GCC 33.1 | The Defects Liability Period shall be 365 days as from the site handing over date. |
| GCC 34.1 | Delete sub-clause 34.1 and replace by the following: Should any defect arise during the Contractual period or up to the end of the Defects Liability Period and subsequently, the Contractor fails to correct the Defect within the time specified in the Project Manager’s notice, this shall constitute a breach of the Contractor’s obligations under this Contract. The Project Manager shall assess the cost of having the defect corrected and recover the money from outstanding payment or from the Performance Security. |
| GCC 39.7 | Interim Payment for Plant and Material on site is not applicable for this Contract. |
| D. Cost Control |  |
| GCC 40.1 | N/A |
| GCC 41.1 (l) | Exceptionally adverse climatic conditions, defined as any one of the following events: - minimum of 100 mm rainfall or 2 hours continuous heavy rainfall recorded in one day at the nearest approved Rain Station, - Torrential rain declared by the Meteorological Department of Mauritius, - Cyclone warning Class III or Class IV. |
| GCC 43.1 | The currency shall be Mauritian Rupees (MUR). |
| GCC 44.1 | The Contract is not subject to price adjustment. |
| GCC 45.1 & 45.2 | 10% of the payment being effected shall be retained and 5% of the retention money shall be released following the Certificate of completion. |
| GCC 46.1 | The Liquidated Damages for the whole contract shall be MUR 200,000 per week or part thereof. The maximum amount of Liquidated Damages for the whole of the Works shall be 5% of the Contract Amount. |
| GCC 47.1 | The Bonus for the whole of the Works is: Not Applicable. |
| GCC 48.1 | The Advance Payment shall be 10% of Contract value excluding any Provisional & Contingencies sums, upon submission of a Bank Guarantee as per Advance Payment Security form hereunder. |
| GCC 49.1 | The Performance Security amount shall be 10% of the Contract value including any Provisional & Contingencies sums, and shall be submitted as per Performance Security form hereunder. |

| E. Finishing the Contract |  |
| --- | --- |
| GCC 56.1 | The date by which “as built” drawings are required, shall be 28 days after completion of work. |
| GCC 59.1 | The percentage to apply to the value of the work not completed, representing AML’s additional cost for completing the Works is 10%. |

Section V- Contract forms

# Performance Security

...............................Bank/Insurance Company’s Name and Address of Issuing Branch or Office….....................................................

Beneficiary: .............................................Name and Address of Employer................................................................

Date..............

PERFORMANCE GUARANTEE No.: ..........................................................................................

We have been informed that ..................................[name of the Contractor]	(hereinafter

called "the Contractor") has entered into Contract No.............[reference number of the Contract] ............

dated.	with you, for the execution of	[name of Contract and brief description of Works]

.	(hereinafter called "the Contract").

Furthermore, we understand that, according to the conditions of the Contract, a performance security is required.

At the request of the Contractor, we ................................. [name of Bank/Insurance Company]	hereby

irrevocably undertake to pay you any sum or sums not exceeding in total an amount of	[amount

in figures (amount in words)]	such sum being payable in the types and proportions of

currencies in which the Contract Price is payable, upon receipt by us of your first demand in writing accompanied by a written statement stating that the Contractor is in breach of its obligation(s) under the Contract, without your needing to prove or to show grounds for your demand or the sum specified therein.

This guarantee shall expire and returned to us not later than twenty- one days from the date of issuance of the Defects Liability Certificate, calculated based on a copy of such Certificate which shall be provided to us, or on the................................day of ..................................,	,

whichever occurs first. Consequently, any demand for payment under this guarantee must be received by us at this office on or before that date.

Seal of bank/Insurance Guarantee and

Signature(s).............................................................

# Advance Payment Security

The Guarantor……………………. [insert bank/Financial Institution’s name and address of place of issue, unless indicated in the letterhead]

Advance Payment Guarantee No.: ………….…….. [insert Guarantee Reference Number]

Name of Contract/Contract No.:  …………....… [insert name or reference number of contract]

The Beneficiary (the Employer): …………………….... [insert Name and Address of Employer]

We have been informed that …………………….. [insert name and address of the Contractor] (hereinafter called the “Applicant”) is your Contractor under such Contract and wishes to receive an advance payment, for which the Contract requires him/her to obtain a guarantee.

At the request of the Applicant, we …………………………….. [insert name of Guarantor] hereby irrevocably undertake to pay you, the Beneﬁciary/Employer, any sum or sums not exceeding in total the amount of ……………………………………………………………. [insert in ﬁgures and words the maximum amount payable and the currency in which it is payable] (the “Guaranteed Amount”) upon receipt by us of your demand in writing and your written statement that:

(a) the Applicant has used the advance payment for purposes other than the costs of mobilization in respect of the Works; or

(b) the Applicant has failed to repay the advance payment in accordance with the Conditions of Contract, specifying the amount of the advance payment which the Applicant has failed to repay.

This guarantee shall become effective upon receipt (of the ﬁrst instalment) of the advance payment by the Applicant. The Guaranteed Amount shall be reduced by the amounts of the advance payment repaid to you, as evidenced by interim payment certiﬁcates issued under Sub-Clause 40.1 of the Conditions of Contract. Following receipt of a copy of each interim payment certiﬁcate, we shall promptly notify you of the revised Guaranteed Amount accordingly.

Any demand for payment must contain your signature(s) which must be authenticated by your bankers or by a notary public. The authenticated demand and statement must be received by us at the following ofﬁce [insert address of ofﬁce] on or before………………………. [insert the date 70 days after the expected expiry of the Time for Completion] (the “Expiry Date”), when this guarantee shall expire.

The party liable for the payment of any charges: ……………………. [insert the name of the party].

This guarantee shall be governed by the laws of ………………………………… [insert the law governing the guarantee], and shall be subject to the Uniform Rules for Demand Guarantees (URDG) 2010 Revision, ICC Publication No. 758.

# . . . . . . . . . . . . . . [Seal of Bank/Insurance Company and Signature(s)] . . . . . . . . . . . . . .